## Sheet1
Number | Satellite | Instruments | Size mm | Mass kg | Power W | Resolution km | Swath km ± | Calibration method | Spectral Range µm | Accuracy | Costs | Channels | Developer | Satellite Manufacturer | links to each instrument | LINKS TO INFORMATION | Instruments | Manufacturer | LINKS TO INFORMATION | IMAGE LINK
1 | HIRS-2/TOVS (NOAA-10-18) | Advanced Microwave Sounding Unit-A | 300 x 300 x 800 | 33 | 29 | 1 | 1464, 55.37° | In-flight | 0.6 - 12 | - | - | 3 Visible Infrared 3 Thermal infrared | ITT Exelis | GE Aerospace | https://www.eumetsat.int/avhrr | https://www.avl.class.noaa.gov/release/data_available/tovs_atovs/index.htm , https://en.wikipedia.org/wiki/NOAA-10 , https://www.eumetsat.int/avhrr | Advanced Microwave Sounding Unit-A, Advanced Microwave Sounding Unit-B (AMSU-B) High Resolution Infrared Radiation Sounder Version 3 (HIRS/3), Solar Backscatter Ultraviolet Radiometer (SBUV/2), Search and Rescue Satellite Aided Tracking (SARSAT), Earth Radiation Budget Experiment (ERBE), Space Environment Monitor (SEM),Data Collection System (DCS-Argos, TIROS Operational Vertical Sounder (TOVS), Advanced Very High Resolution Radiometer (AVHRR/2) | GE Aerospace | https://www.avl.class.noaa.gov/release/data_available/tovs_atovs/index.htm , https://en.wikipedia.org/wiki/NOAA-10 | https://images.app.goo.gl/ijYceUqMYod1JHex5
|  | Advanced Microwave Sounding Unit-B (AMSU-B) | 300 x 300 | 100 | 125 | 15 | 1650. 49.5° | In flight | ? | - | - | 5 Microwave (89-183.3 hz) | ITT Exelis |  | https://en.wikipedia.org/wiki/Advanced_microwave_sounding_unit https://nwp-saf.eumetsat.int/site/software/aapp/aapp-overview/amsu-b/
|  | High Resolution Infrared Radiation Sounder Version 4 (HIRS/4) | 300 x 360 x 800 | 33 | 29 | 10 | 2160, 55.37° | In flight / Programmed views | 3.8 - 15 | - | - | 19 IR 1 Visible | ITT Exelis |  | https://www.eumetsat.int/hirs
|  | Solar Backscatter Ultraviolet Radiometer (SBUV/2) | - | 40 | 17 | 170 | nadir | in flight | 160 400 | 1-5 % | - | 12 near UV | Ball Aerospace |  | https://space.oscar.wmo.int/instruments/view/sbuv_2 https://www.star.nesdis.noaa.gov/smcd/spb/ozone/documentation.php https://en.wikipedia.org/wiki/SBUV/2
|  | Search and Rescue Satellite Aided Tracking (SARSAT) | 340 mm3 | 24 | 53 | - | - | - | - | - | - | - | USA, France , Gemrnay |  | https://eoportal.org/web/eoportal/satellite-missions/c-missions/cospas-sarsat
|  | Space Environment Monitor (SEM) | 184 x 314 x 193. 282 x 252 x 138. 287 x 267 x 79 | 4.7 . 8.7 . 4.6 | - | - | nadir and 90 deg from nadir | In flight | 0.03 - 140 Mev | - | - | protons are measured in 6 bands in the energy range 0.03-6.9 MeV, electrons in thee bands in the range 30-300 keV. Omni-directional: proton energy in the ranges > 16 MeV, >35 MeV, > 70 MeV and > 140 MeV | Assurance Technology Corporation |  | https://space.oscar.wmo.int/instruments/view/sem_meped
|  | Data Collection System (DCS-Argos) | - | 30 | 72 | 401.65 mhz receiver frequency |  |  | 400 TO 4800 BPS DATA RATE |  |  |  | GARP |  | https://en.wikipedia.org/wiki/NOAA-10#Earth_Radiation_Budget_Experiment_(ERBE) https://www.eumetsat.int/a-dcs
|  | TIROS Operational Vertical Sounder (TOVS) | - | 63.4 | 75 | - | - | - | - | - | - | - | ITT Exelis |  | https://www.ozonelayer.noaa.gov/action/tovs.htm#:~:text=The%20TIROS%20Operational%20Vertical%20Sounder,Stratospheric%20Sounding%20Unit%20(SSU). https://www.ospo.noaa.gov/Products/atmosphere/soundings/atovs/
|  | Advanced Very High Resolution Radiometer (AVHRR/2) | - | 33 | 27 | 1.1 | 1447 55.37 | 4 internal blak bodies every scan line | 0.55 - 12.5 | - | - | 5 channel : VIS, NIR, MWIR TIR | ITT Exelis |  | https://space.oscar.wmo.int/instruments/view/avhrr_2 https://nwp-saf.eumetsat.int/site/software/aapp/aapp-overview/avhrr-2/
2 | IMG (ADEOS I) | Ocean Color and Temperature Scanner (OCTS) | - | - | - | 0.7 | 1400 20 deg | solar and internal lamp for VNIR, deep sapce and black body for IR | 0.4 - 12.7 | - | - | 12 measurement bands from 0.402 - 12.5 µm. | JAXA NASDA | Mitsubishi Electric | https://earth.esa.int/web/eoportal/satellite-missions/a/adeos https://space.oscar.wmo.int/instruments/view/octs https://oceancolor.gsfc.nasa.gov/data/octs/ https://suzaku.eorc.jaxa.jp/GLI2/adeos/Project/Octs.html
|  | The Advanced Visible and Near Infrared Radiometer (AVNIR) | - | 250 | 300 | 0.016 | 80 (FOV=5.7º). | IN FLIGHT | 0.42 - 0.89 | - | - | 5 bands from 0.42 - 0.89 µm (multispectral bands: 0.42-0.50, 0.52-0.60, 0.61-0.69 and 0.76-0.89 µm, panchromatic band (visible): 1 band 0.52-0.69 µm). Spatial resolution: multispectral bands: ~16 m (IFOV=20 µrad), panchromatic band: about 8 m (IFOV =10 µrad). | NASDA |  | https://oceancolor.gsfc.nasa.gov/data/octs/ https://space.oscar.wmo.int/instruments/view/nscat
|  | Scatterometer (NSCAT) | - | 280 | 240 | 50 | 2 X 600 330 GAP AT NADIR | PRE FLIGHT | 13.995 GHZ | - | - | Ku-band (13.995 GHz), side looking both left and right. 3 antennas on each side | JPL |  | https://earth.esa.int/web/eoportal/satellite-missions/a/adeos https://space.oscar.wmo.int/instruments/view/nscat
|  | Polarization and Directionality of the Earth's Reflectance (POLDER) | - | 32 | 50 | 6.5 | 2400 | IN FLIGHT | 443 nm - 1019 nm | - | - | 9 wavelengths, with 3 polarisations at 3 wavelengths; total: 15 channels | CNES |  | https://space.oscar.wmo.int/instruments/view/polder
|  | TOMS (Total Ozone Mapping Spectrometer) | - | 34 | 24 | 50 | 3000 | IN FLIGHT | 308 nm - 360 nm | - | - | six narrow spectral bands in the near-ultraviolet region. | NASA/GSFC |  | https://earth.esa.int/web/eoportal/satellite-missions/a/adeos https://space.oscar.wmo.int/instruments/view/toms
|  | Limb Atmospheric Spectrometer (ILAS) | - | 130 | 78 | vertical 2, volume 10-60, horizontal 300 | Latitudinal zones 56º - 70º N and 63º - 88º S | IN FLIGHT | 6.21 - 11.77 | - | - | 44 infrared channels in the range from 6.21-11.77 µm (850-1610 cm-1) | JEA, EXOS-C |  | https://earth.esa.int/web/eoportal/satellite-missions/a/adeos https://space.oscar.wmo.int/instruments/view/ilas_i
|  | Retroreflector in Space (RIS) | - | 43 | - | - | REFLECTOR | - | 0.4- 14 | - | - | LASER | JEA |  | https://earth.esa.int/web/eoportal/satellite-missions/a/adeos https://space.oscar.wmo.int/instruments/view/ris
|  | Interferometric Monitor for Greenhouse Gases (IMG) | - | 130 | 150 | 8 | 20 | IN FLIGHT | 3.3- 14.7 | - | - | IR interferometer, spectral range 3.3-14.0 µm (714-3030 cm-1) split in 3 bands | MITI, JAROS |  | https://earth.esa.int/web/eoportal/satellite-missions/a/adeos https://space.oscar.wmo.int/instruments/view/img | https://eoportal.org/web/eoportal/satellite-missions/a/adeos ,https://en.wikipedia.org/wiki/ADEOS_I | Ocean Color and Temperature Scanner (OCTS) , The Advanced Visible and Near Infrared Radiometer (AVNIR), Scatterometer (NSCAT), Polarization and Directionality of the Earth's Reflectance (POLDER), Limb Atmospheric Spectrometer (ILAS), Retroreflector in Space (RIS), Interferometric Monitor for Greenhouse Gases (IMG) | Mitsubishi Electric | https://eoportal.org/web/eoportal/satellite-missions/a/adeos ,https://en.wikipedia.org/wiki/ADEOS_I | https://images.app.goo.gl/ZzavLkXP2vGrzS4G8
3 | IMG (ADEOS II) | Advanced Microwave Scanning Radiometer (AMSR) | - | 320 | 400 | DEPENDS ON FREQUENCY CONSISTENT WITH ANTENA 2 M DIAMETER | 1600 50 deg CONICAL | IN FLIGHT | 6.9 to 89 GHz | - | - | Large antenna, 8 frequencies / 16 channels in the range 6.9 to 89 GHz, window and absorption-band channels | NSDA | Mitsubishi Electric | https://directory.eoportal.org/web/eoportal/satellite-missions/a/adeos-ii https://space.oscar.wmo.int/instruments/view/amsr
|  | Global Imager (GLI) | - | 450 | 400 | 250 m VIR, 1km other 30 channels | 1600 20deg | IN FLIGHT | 0.38-12.0 | - | - | 36-channel spectroradiometer covering the range 0.38-12.0 ?m (29 channels in UV/VIS/NIR, 7 in MWIR/TIR). 18 channels have 10 nm bandwidth, for ocean colour | NSDA |  | https://directory.eoportal.org/web/eoportal/satellite-missions/a/adeos-ii https://space.oscar.wmo.int/instruments/view/gli
|  | Improved Limb Atmospheric Spectrometer-II (ILAS-II) | - | 138 | 120 | Vertical: 1 km in the volume 10-60 km; horizontal: 300 km along-view | Latitudinal zones 56-70 ºN and 63-88 ºS, once each 3 days | IN FLIGHT | 0.753 - 12.78 | - | - | 44 IR channels from 6.21-11.76 µm (850-1610 cm-1) with 0.1296 µm interval 22 IR channels from 3.0 - 5.7 µm (1754-3330 cm-1) 22 IR channels from 12.78-12.85 µm (778.2-782.4 cm-1) with 0.2 cm-1 resolution 1024 channels from 0.753 - 0.784 µm with 0.1 nm FWHM resolution | MOE |  | https://directory.eoportal.org/web/eoportal/satellite-missions/a/adeos-ii https://space.oscar.wmo.int/instruments/view/ilas_ii
|  | Polarization and Directionality of the Earth's Reflectance (POLDER) | - | 32 | 50 | 6.5 | 2400 | IN FLIGHT | 443 nm - 1019 nm | - | - | 9 wavelengths, with 3 polarisations at 3 wavelengths; total: 15 channels | CNES |  | https://space.oscar.wmo.int/instruments/view/polder | https://eoportal.org/web/eoportal/satellite-missions/a/adeos-ii , https://en.wikipedia.org/wiki/ADEOS_II, | Advanced Microwave Scanning Radiometer (AMSR), Global Imager (GLI), Improved Limb Atmospheric Spectrometer-II (ILAS-II), Polarization and Directionality of the Earth's Reflectances (POLDER), and SeaWinds | Mitsubishi Electric | https://eoportal.org/web/eoportal/satellite-missions/a/adeos-ii , https://en.wikipedia.org/wiki/ADEOS_II, | https://images.app.goo.gl/fXuopkFkmqNjYhSX9
4 | SCIAMACHY (Envisat) | MWR (Microwave Radiometer) |  | 25 | 23 | 20 | 20 | IN FLIGHT |  | 2.6 |  |  | ESA | Astrium ( Airbus Space and Defense) | https://earth.esa.int/eogateway/instruments/mwr/description
|  | AATSR (Advanced Along Track Scanning Radiometer) | - | 101 | 100 | 0.5 | 500 | In Flight | [6 empty] | https://earth.esa.int/eogateway/instruments/aatsr/description
|  | MIPAS (Michelson Interferometer for Passive Atmospheric Sounding) | - | [5 empty] | 4.5 - 14.6
|  | MERIS (Medium Resolution Imaging Spectrometer) | - |  |  | 0.3 | 1150 | Pre Flight | 390 - 1040 |  |  | Up to 15 spectral bands, programmable in position and width
|  | SCIAMACHY (SCanning Imaging Absorption spectroMeter for Atmospheric CHartographY) | -
|  | RA-2 (Radar Altimeter 2) | -
|  | ASAR (Advanced Synthetic Aperture Radar) | - | [12 empty] | https://earth.esa.int/eogateway/instruments/sciamachy , https://en.wikipedia.org/wiki/Envisat#Instruments , https://www.sciamachy.org/ , https://earth.esa.int/eogateway/missions/envisat | MWR (Microwave Radiometer), AATSR (Advanced Along Track Scanning Radiometer), MIPAS (Michelson Interferometer for Passive Atmospheric Sounding) is a Fourier transforming infrared spectrometer, MERIS (MEdium Resolution Imaging Spectrometer), SCIAMACHY (SCanning Imaging Absorption spectroMeter for Atmospheric CHartographY) compares light coming from the sun to light reflected by the Earth, which provides information on the atmosphere through which the Earth-reflected light has passed. RA-2 (Radar Altimeter 2) is a dual-frequency Nadir pointing Radar operating in the Ku band and S bands, ASAR (Advanced Synthetic Aperture Radar) operates in the C band in a wide variety of modes. | Astrium ( Airbus Space and Defense) | https://earth.esa.int/eogateway/instruments/sciamachy , https://en.wikipedia.org/wiki/Envisat#Instruments , https://www.sciamachy.org/ , https://earth.esa.int/eogateway/missions/envisat | https://images.app.goo.gl/dGZfcgNSM1aZiAYw8
5 | AIRS (Aqua) | Advanced Microwave Scanning Radiometer-EOS (AMSR-E) | [11 empty] | TRW |  | https://aqua.nasa.gov , https://en.wikipedia.org/wiki/Aqua_(satellite) | Advanced Microwave Scanning Radiometer-EOS (AMSR-E), Moderate Resolution Imaging Spectroradiometer (MODIS), Advanced Microwave Sounding Unit (AMSU-A), Atmospheric Infrared Sounder (AIRS), Humidity Sounder for Brazil (HSB), Clouds and the Earth's Radiant Energy System (CERES) | TRW | https://aqua.nasa.gov , https://en.wikipedia.org/wiki/Aqua_(satellite) | https://images.app.goo.gl/C57zmEJo5jesXyxZ9
Moderate Resolution Imaging Spectroradiometer (MODIS)
Advanced Microwave Sounding Unit (AMSU-A)
Atmospheric Infrared Sounder (AIRS)
Humidity Sounder for Brazil (HSB)
Clouds and the Earth's Radiant Energy System (CERES)
6 | IASI (MetOp) 3 Satellites | AMSU-A1/AMSU-A2 – Advanced Microwave Sounding Units | [11 empty] | Eumetsat
HIRS/4
AVHRR/3
Argos A-DCS
SEM-2
SARP-3
SARR
MHS
IASI – Infrared Atmospheric Sounding Interferometer
GRAS – Global Navigation Satellite System Receiver for Atmospheric Sounding,
ASCAT – Advanced SCATterometer
|  | GOME-2 – Global Ozone Monitoring Experiment-2 | [13 empty] | https://www.eumetsat.int/metop, https://en.wikipedia.org/wiki/MetOp https://earth.esa.int/web/eoportal/satellite-missions/m/metop | AMSU-A1/AMSU-A2 – Advanced Microwave Sounding Units, HIRS/4, AVHRR/3, Argos A-DCS, SEM-2, SARP-3, SARR , MHS, IASI – Infrared Atmospheric Sounding Interferometer, GRAS – Global Navigation Satellite System Receiver for Atmospheric Sounding, ASCAT – Advanced SCATterometer, GOME-2 – Global Ozone Monitoring Experiment-2 | Eumetsat | https://www.eumetsat.int/metop, https://en.wikipedia.org/wiki/MetOp https://earth.esa.int/web/eoportal/satellite-missions/m/metop | https://images.app.goo.gl/aAbhA87otrR9JHtR9
7 | GOSAT | Greenhouse gas observation sensor (TANSO-FTS) | - | 329 | 400 | 10.5 | 160 36.1 deg | Irradiance : Solar, Deep space, Diode Laser, Black Body | 0.01- 15 | - | - | UV (0.01 - 0.4 µm), VIS (0.40 - 0.75 µm), NIR (0.75 - 1.30 µm), SWIR (1.3 - 3.0 µm), MWIR (3.0 - 6.0 µm), TIR (6.0 - 15.0 µnm) | JAXA | Mitsubishi Electric | https://space.oscar.wmo.int/instruments/view/tanso_fts https://earth.esa.int/eogateway/catalog/gosat-tanso-fts-and-cai-full-archive-and-new-products https://www.eorc.jaxa.jp/GOSAT/instrument_1.html
|  | Cloud/aerosol sensor (TANSO-CAI) | - | 42 | 83 | 1.5 | 750- 100 36.1 DEG | Irradiance : Solar, Deeo soace, Diode Laser, Black Body | 0.3 - 1.6 | - | - | 4-channel UV/VIS/NIR/SWIR radiometer | JAXA |  | https://space.oscar.wmo.int/instruments/view/tanso_cai_2 https://www.eorc.jaxa.jp/GOSAT/instrument_2.html https://space.oscar.wmo.int/instruments/view/tanso_cai | https://earth.esa.int/eogateway/missions/gosat http://www.gosat.nies.go.jp/en/ https://en.wikipedia.org/wiki/Greenhouse_Gases_Observing_Satellite https://directory.eoportal.org/web/eoportal/satellite-missions/g/gosat-2 | greenhouse gas observation sensor (TANSO-FTS), cloud/aerosol sensor (TANSO-CAI) | Mitsubishi Electric | https://earth.esa.int/eogateway/missions/gosat http://www.gosat.nies.go.jp/en/ https://en.wikipedia.org/wiki/Greenhouse_Gases_Observing_Satellite https://directory.eoportal.org/web/eoportal/satellite-missions/g/gosat-2 | https://images.app.goo.gl/RvJaQEj5BdvpwRNi6
8 | GOSAT2 | Greenhouse gas observation sensor (TANSO-FTS ) | - | 329 | 400 | 10.5 | 160 36.1 deg | Irradiance : Solar, Deeo soace, Diode Laser, Black Body | 0.01- 15 | - | - | UV (0.01 - 0.4 µm), VIS (0.40 - 0.75 µm), NIR (0.75 - 1.30 µm), SWIR (1.3 - 3.0 µm), MWIR (3.0 - 6.0 µm), TIR (6.0 - 15.0 µnm) | JAXA | Mitsubishi Electric | https://space.oscar.wmo.int/instruments/view/tanso_fts https://earth.esa.int/eogateway/catalog/gosat-tanso-fts-and-cai-full-archive-and-new-products https://www.eorc.jaxa.jp/GOSAT/instrument_1.html
|  | Cloud/aerosol sensor (TANSO-CAI) | - | 42 | 83 | 1.5 | 750- 100 36.1 DEG | Irradiance : Solar, Deeo soace, Diode Laser, Black Body | 0.3 - 1.6 | - | - | 4-channel UV/VIS/NIR/SWIR radiometer | JAXA |  | https://space.oscar.wmo.int/instruments/view/tanso_cai_2 https://www.eorc.jaxa.jp/GOSAT/instrument_2.html https://space.oscar.wmo.int/instruments/view/tanso_cai
|  | TANSO-FTS-2 (TANSO-CAI 2) | - | 42 | 83 | 1.5 | 750- 100 36.1 DEG | Irradiance : Solar, Deeo soace, Diode Laser, Black Body | 0.3 - 1.6 | - | - | 4-channel UV/VIS/NIR/SWIR radiometer | JAXA |  | https://space.oscar.wmo.int/instruments/view/tanso_cai_2 https://www.eorc.jaxa.jp/GOSAT/instrument_2.html https://space.oscar.wmo.int/instruments/view/tanso_cai | https://en.wikipedia.org/wiki/Greenhouse_Gases_Observing_Satellite-2 https://earth.esa.int/eogateway/missions/gosat-2 | greenhouse gas observation sensor (TANSO-FTS ), cloud/aerosol sensor (TANSO-CAI), TANSO-FTS-2 (TANSO-CAI 2 | Mitsubishi Electric | https://en.wikipedia.org/wiki/Greenhouse_Gases_Observing_Satellite-2 https://earth.esa.int/eogateway/missions/gosat-2 | https://images.app.goo.gl/2K3FtNaT3GUmmvo3A
9 | OCO | OCO | - | 150 | 165 | 1.29 km (cross-track), 2.25 km (along-track) | Cross track 10 | IN FLIGHT | 0.76 , 1.61, 2.06 | - | - | 3 NIR/SWIR grating spectrometer, 3 bands, 0.76 µm (O2), 1.61 and 2.06 µm (CO2) - 3000 channels total | HSSS | Oribtal Sciences | https://directory.eoportal.org/web/eoportal/satellite-missions/o/oco https://space.oscar.wmo.int/instruments/view/oco | https://en.wikipedia.org/wiki/Orbiting_Carbon_Observatory#Technology https://directory.eoportal.org/web/eoportal/satellite-missions/o/oco-2 | The satellite will carry a single instrument designed to make the most precise measurements of atmospheric carbon dioxide ever made from space. The instrument consists of three parallel, high-resolution spectrometers, integrated into a common structure and fed by a common telescope. The spectrometers will make simultaneous measurements of the carbon dioxide and molecular oxygen absorption of sunlight reflected off the same location on Earth's surface when viewed in the near-infrared part of the electromagnetic spectrum, invisible to the human eye. | Oribtal Sciences | https://en.wikipedia.org/wiki/Orbiting_Carbon_Observatory#Technology https://directory.eoportal.org/web/eoportal/satellite-missions/o/oco-2 | https://images.app.goo.gl/F3Gbmpaninj9cjFu7
10 | OCO-2 | OCO-2 | - | 150 | 165 | 1.29 km (cross-track), 2.25 km (along-track) | Cross track 10 | IN FLIGHT | 0.76 , 1.61, 2.06 | - | - | 3 NIR/SWIR grating spectrometer, 3 bands, 0.76 µm (O2), 1.61 and 2.06 µm (CO2) - 3000 channels total | HSSS | Oribtal Sciences | https://directory.eoportal.org/web/eoportal/satellite-missions/o/oco https://space.oscar.wmo.int/instruments/view/oco
11 | GHGSat-D (or Claire) | wide-angle Fabry-Perot (WAF-P) imaging spectrometer | < 5M | - | - | 0.5 | 15 | PRE CALIBRATION | 1600- 1700 nm | - | - | SWIR 1630-1675 nm, multiple bands in a proprietary configuration, unpolarized | GHGSAT | GHGSAT | https://earth.esa.int/eogateway/missions/ghgsat https://www.ghgsat.com/en/technology https://earth.esa.int/eogateway/activities/edap/atmospheric-missions | https://space.skyrocket.de/doc_sdat/ghgsat-d.htm , https://pulse.ghgsat.com/ | a wide-angle Fabry-Perot (WAF-P) imaging spectrometer | UTIAS Space Flight Laboratory (SFL) | https://space.skyrocket.de/doc_sdat/ghgsat-d.htm , https://pulse.ghgsat.com/ | https://images.app.goo.gl/SoQhjmdTSXqMvWuY99
12 | GHGSat-C1 (or Iris) | wide-angle Fabry-Perot (WAF-P) imaging spectrometer | < 5M | - | - | 0.5 | 15 | PRE CALIBRATION | 1600- 1700 nm | - | - | SWIR 1630-1675 nm, multiple bands in a proprietary configuration, unpolarized | GHGSAT | GHGSAT | https://earth.esa.int/eogateway/missions/ghgsat https://www.ghgsat.com/en/technology https://earth.esa.int/eogateway/activities/edap/atmospheric-missions | https://space.skyrocket.de/doc_sdat/ghgsat-d.htm , https://pulse.ghgsat.com/ | a wide-angle Fabry-Perot (WAF-P) imaging spectrometer | UTIAS Space Flight Laboratory (SFL) | https://space.skyrocket.de/doc_sdat/ghgsat-d.htm , https://pulse.ghgsat.com/ | https://images.app.goo.gl/SoQhjmdTSXqMvWuY9
13 | GHGSat-C2 (or Hugo) | wide-angle Fabry-Perot (WAF-P) imaging spectrometer | < 5M | - | - | 0.5 | 15 | PRE CALIBRATION | 1600- 1700 nm | - | - | SWIR 1630-1675 nm, multiple bands in a proprietary configuration, unpolarized | GHGSAT | GHGSAT | https://earth.esa.int/eogateway/missions/ghgsat https://www.ghgsat.com/en/technology https://earth.esa.int/eogateway/activities/edap/atmospheric-missions | https://space.skyrocket.de/doc_sdat/ghgsat-d.htm , https://pulse.ghgsat.com/ | a wide-angle Fabry-Perot (WAF-P) imaging spectrometer | UTIAS Space Flight Laboratory (SFL) | https://space.skyrocket.de/doc_sdat/ghgsat-d.htm , https://pulse.ghgsat.com/ | https://images.app.goo.gl/SoQhjmdTSXqMvWuY9
14 | TanSat (or CarbonSat) | Cloud and Aerosol Polarimetry Imager CAPI | - | 80 | 70 | 250 OR 1000 m | 200 65 deg solar zenith | In flight | Ultraviolet: 0.38 µm Visible: 0.67 µm Near infrared: 0.87, 1.375 and 1.64 µm | - | - | 5-channel UV/VIS/NIR/SWIR radiometer with three polarisations in two channels, and resolution changing with channel | CAS | Shanghai Institute of Microsystems and Information Technology | https://space.oscar.wmo.int/instruments/view/capi https://directory.eoportal.org/web/eoportal/satellite-missions/t/tansat#sensors
|  | High-resolution Carbon Dioxide Spectrometer ACGS | - | 180 | 170 | 2 km (cross track) x 3 km (along track) | 18 | In flight | 760 nm, 1610 nm, 2060 nm | - | - | Three-band NIR/SWIR grating spectroradiometer, Band-1: O2 around 760 nm; Band-2: CO2 around 1610 nm (weak band); Band-3: CO2 around 2060 nm (strong band). 2000 channels total | CAS |  | https://directory.eoportal.org/web/eoportal/satellite-missions/t/tansat#sensors https://space.oscar.wmo.int/instruments/view/acgs | TanSat - eoPortal Directory - Satellite Missions | High-resolution Carbon Dioxide Spectrometer and Cloud and Aerosol Polarimetry Imager | Shanghai Institute of Microsystems and Information Technology | TanSat - eoPortal Directory - Satellite Missions | https://eoportal.org/ftp/satellite-missions/t/TanSat-22032021/TanSat_Auto15.jpeg
15 | GAS FTS aboard FY-3D | Hyperspectral Infrared Atmospheric Sounder
GNSS Radio Occultation Sounder
Medium Resolution Spectral Imager -2
Micro-Wave Humidity Sounder -2
Micro-Wave Radiation Imager
Micro-Wave Temperature Sounder - 2
Space Weather Suite / Ionospheric PhotoMeter
Space Weather Suite / Wide-field Auroral Imager
Space Weather Suite / Space Environment Monitor / High Energy Particle Detector
Space Weather Suite / Space Environment Monitor / Ionosphere Measurement Sensor
|  | Greenhouse-gases Absorption Spectrometer | [11 empty] | National Satellite Meteorological Center |  | FY-3D (nsmc.org.cn) | Greenhouse-gases Absorption Spectrometer | National Satellite Meteorological Center | FY-3D (nsmc.org.cn) | https://fy4.nsmc.org.cn/nsmc/cn/satellite/pic/fy3/FY-3D_inst.jpg
16 | GMI (GaoFen-5, (fr)) | Advanced Hyperspectral Imager (AHSI) | [11 empty] | State Key Laboratory of Remote Sensing Science
Visual and Infrared Multispectral Sensor (VIMS)
Greenhouse-gases Monitoring Instrument (GMI)
Atmospheric Infrared Ultraspectral (AIUS)
Environment Monitoring Instrument (EMI)
|  | Directional Polarization Camera (DPC) | [13 empty] | Gaofen 5 (GF 5) - Gunter's Space Page (skyrocket.de) | Advanced Hyperspectral Imager (AHSI) Visual and Infrared Multispectral Sensor (VIMS) Greenhouse-gases Monitoring Instrument (GMI) Atmospheric Infrared Ultraspectral (AIUS) Environment Monitoring Instrument (EMI) Directional Polarization Camera (DPC) | State Key Laboratory of Remote Sensing Science | Gaofen 5 (GF 5) - Gunter's Space Page (skyrocket.de) | https://space.skyrocket.de/img_sat/gf-5__2.jpg
17 | OCO-3 | OCO ISS | - | 150 | 165 | 1.29 km (cross-track), 2.25 km (along-track) | Cross track 10 | IN FLIGHT | 0.76 , 1.61, 2.06 | - | - | 3 NIR/SWIR grating spectrometer, 3 bands, 0.76 µm (O2), 1.61 and 2.06 µm (CO2) - 3000 channels total | HSSS | JPL | https://directory.eoportal.org/web/eoportal/satellite-missions/o/oco https://space.oscar.wmo.int/instruments/view/oco https://directory.eoportal.org/web/eoportal/satellite-missions/i/iss-oco-3 | https://doi.org/10.1016/j.rse.2021.112314 https://ocov3.jpl.nasa.gov/ | https://ocov3.jpl.nasa.gov/payload/instrument/ | JPL | https://doi.org/10.1016/j.rse.2021.112314 https://ocov3.jpl.nasa.gov/ | https://ocov3.jpl.nasa.gov/media/images/payload-small.original.jpg
18 | MicroCarb | infrared passive spectrometer (Microcarb) | - | 72 | 57 | 4.5 | Cross-track: three parallel 4.5-km IFOV's for a comprehensive 13.5 km swath. Along-track sampling at 9.km intervals. Over land the pointing is close to nadir, over ocean it is tilted towards sunglint. | IN FLIGHT | 1608 and 2037 nm (CO2); and 764 and 1273 nm (O2). Resolving power λ/Δλ = 25000 | - | - | Spectrometer with four very-narrow NIR/SWIR bands, | CNES | CNES | https://directory.eoportal.org/web/eoportal/satellite-missions/m/microcarb https://space.oscar.wmo.int/instruments/view/microcarb | https://microcarb.cnes.fr/en/MICROCARB/GP_instrument.htm | https://microcarb.cnes.fr/en/MICROCARB/GP_instrument.htm | CNES | https://microcarb.cnes.fr/en/MICROCARB/index.htm | https://microcarb.cnes.fr/sites/default/files/styles/large/public/drupal/201512/image/bpc_microcarb-satellite.png?itok=eV8ry5RW
19 | GOSAT-3 (GOSAT-GW) | Greenhouse gas observation sensor (TANSO-FTS ) | - | 329 | 400 | 10.5 | 160 36.1 deg | Irradiance : Solar, Deeo soace, Diode Laser, Black Body | 0.01- 15 | - | - | UV (0.01 - 0.4 µm), VIS (0.40 - 0.75 µm), NIR (0.75 - 1.30 µm), SWIR (1.3 - 3.0 µm), MWIR (3.0 - 6.0 µm), TIR (6.0 - 15.0 µnm) | JAXA | Mitsubishi | https://earth.esa.int/eogateway/missions/gosat https://space.oscar.wmo.int/instruments/view/tanso_cai_2 https://www.eorc.jaxa.jp/GOSAT/instrument_2.html | WMO OSCAR ¦ Satellite: GOSAT-GW | Thermal And Near infrared Sensor for carbon Observations Advanced Microwave Scanning Radiometer - 3 Other instruments may be added | Mitsubishi | WMO OSCAR ¦ Satellite: GOSAT-GW | Not yet available
|  | Cloud/aerosol sensor (TANSO-CAI) | - | 42 | 83 | 1.5 | 750- 100 36.1 DEG | Irradiance : Solar, Deeo soace, Diode Laser, Black Body | 0.3 - 1.6 | - | - | 4-channel UV/VIS/NIR/SWIR radiometer | JAXA |  | https://earth.esa.int/eogateway/missions/gosat https://space.oscar.wmo.int/instruments/view/tanso_cai_2 https://www.eorc.jaxa.jp/GOSAT/instrument_2.html
20 | GeoCARB
21 | MethaneSat | [14 empty] | https://www.methanesat.org/2020/02/21/methanesat-instrument-orbital-platform-clear-key-design-milestone |  |  | https://www.methanesat.org/2020/02/21/methanesat-instrument-orbital-platform-clear-key-design-milestone
22 | Sentinel 5 Precursor Sattelite
|  |  |  | 115.0919 | 126.6486
https://digitalcommons.usu.edu/cgi/viewcontent.cgi?article=4285&context=smallsat

## Edited instrument table
Satellite | Instruments | Size mm | Mass kg | Power W | Resolution km | Swath km ± | Calibration method | Spectral Range µm | Accuracy | Costs | Channels | Developer | Satellite Manufacturer | links to each instrument | LINKS TO INFORMATION | Instruments | Manufacturer | LINKS TO INFORMATION | IMAGE LINK
SCIAMACHY (Envisat) | MWR (Microwave Radiometer) |  | 25 | 23 | 20 | 20 | IN FLIGHT |  | 2.6 |  |  | ESA | Astrium ( Airbus Space and Defense) | https://earth.esa.int/eogateway/instruments/mwr/description
| AATSR (Advanced Along Track Scanning Radiometer) | - | 101 | 100 | 0.5 | 500 | In Flight | [6 empty] | https://earth.esa.int/eogateway/instruments/aatsr/description
| MIPAS (Michelson Interferometer for Passive Atmospheric Sounding) | - | [5 empty] | 4.5 - 14.6
| MERIS (Medium Resolution Imaging Spectrometer) | - |  |  | 0.3 | 1150 | Pre Flight | 390 - 1040 |  |  | Up to 15 spectral bands, programmable in position and width
| SCIAMACHY (SCanning Imaging Absorption spectroMeter for Atmospheric CHartographY) | -
| RA-2 (Radar Altimeter 2) | -
| ASAR (Advanced Synthetic Aperture Radar) | - | [12 empty] | https://earth.esa.int/eogateway/instruments/sciamachy , https://en.wikipedia.org/wiki/Envisat#Instruments , https://www.sciamachy.org/ , https://earth.esa.int/eogateway/missions/envisat | MWR (Microwave Radiometer), AATSR (Advanced Along Track Scanning Radiometer), MIPAS (Michelson Interferometer for Passive Atmospheric Sounding) is a Fourier transforming infrared spectrometer, MERIS (MEdium Resolution Imaging Spectrometer), SCIAMACHY (SCanning Imaging Absorption spectroMeter for Atmospheric CHartographY) compares light coming from the sun to light reflected by the Earth, which provides information on the atmosphere through which the Earth-reflected light has passed. RA-2 (Radar Altimeter 2) is a dual-frequency Nadir pointing Radar operating in the Ku band and S bands, ASAR (Advanced Synthetic Aperture Radar) operates in the C band in a wide variety of modes. | Astrium ( Airbus Space and Defense) | https://earth.esa.int/eogateway/instruments/sciamachy , https://en.wikipedia.org/wiki/Envisat#Instruments , https://www.sciamachy.org/ , https://earth.esa.int/eogateway/missions/envisat | https://images.app.goo.gl/dGZfcgNSM1aZiAYw8
GOSAT | Greenhouse gas observation sensor (TANSO-FTS) | - | 329 | 400 | 10.5 | 160 36.1 deg | Irradiance : Solar, Deep space, Diode Laser, Black Body | 0.01- 15 | - | - | UV (0.01 - 0.4 µm), VIS (0.40 - 0.75 µm), NIR (0.75 - 1.30 µm), SWIR (1.3 - 3.0 µm), MWIR (3.0 - 6.0 µm), TIR (6.0 - 15.0 µnm) | JAXA | Mitsubishi Electric | https://space.oscar.wmo.int/instruments/view/tanso_fts https://earth.esa.int/eogateway/catalog/gosat-tanso-fts-and-cai-full-archive-and-new-products https://www.eorc.jaxa.jp/GOSAT/instrument_1.html
| Cloud/aerosol sensor (TANSO-CAI) | - | 42 | 83 | 1.5 | 750- 100 36.1 DEG | Irradiance : Solar, Deeo soace, Diode Laser, Black Body | 0.3 - 1.6 | - | - | 4-channel UV/VIS/NIR/SWIR radiometer | JAXA |  | https://space.oscar.wmo.int/instruments/view/tanso_cai_2 https://www.eorc.jaxa.jp/GOSAT/instrument_2.html https://space.oscar.wmo.int/instruments/view/tanso_cai | https://earth.esa.int/eogateway/missions/gosat http://www.gosat.nies.go.jp/en/ https://en.wikipedia.org/wiki/Greenhouse_Gases_Observing_Satellite https://directory.eoportal.org/web/eoportal/satellite-missions/g/gosat-2 | greenhouse gas observation sensor (TANSO-FTS), cloud/aerosol sensor (TANSO-CAI) | Mitsubishi Electric | https://earth.esa.int/eogateway/missions/gosat http://www.gosat.nies.go.jp/en/ https://en.wikipedia.org/wiki/Greenhouse_Gases_Observing_Satellite https://directory.eoportal.org/web/eoportal/satellite-missions/g/gosat-2 | https://images.app.goo.gl/RvJaQEj5BdvpwRNi6
GOSAT2 | Greenhouse gas observation sensor (TANSO-FTS ) | - | 329 | 400 | 10.5 | 160 36.1 deg | Irradiance : Solar, Deeo soace, Diode Laser, Black Body | 0.01- 15 | - | - | UV (0.01 - 0.4 µm), VIS (0.40 - 0.75 µm), NIR (0.75 - 1.30 µm), SWIR (1.3 - 3.0 µm), MWIR (3.0 - 6.0 µm), TIR (6.0 - 15.0 µnm) | JAXA | Mitsubishi Electric | https://space.oscar.wmo.int/instruments/view/tanso_fts https://earth.esa.int/eogateway/catalog/gosat-tanso-fts-and-cai-full-archive-and-new-products https://www.eorc.jaxa.jp/GOSAT/instrument_1.html
| Cloud/aerosol sensor (TANSO-CAI) | - | 42 | 83 | 1.5 | 750- 100 36.1 DEG | Irradiance : Solar, Deeo soace, Diode Laser, Black Body | 0.3 - 1.6 | - | - | 4-channel UV/VIS/NIR/SWIR radiometer | JAXA |  | https://space.oscar.wmo.int/instruments/view/tanso_cai_2 https://www.eorc.jaxa.jp/GOSAT/instrument_2.html https://space.oscar.wmo.int/instruments/view/tanso_cai
| TANSO-FTS-2 (TANSO-CAI 2) | - | 42 | 83 | 1.5 | 750- 100 36.1 DEG | Irradiance : Solar, Deeo soace, Diode Laser, Black Body | 0.3 - 1.6 | - | - | 4-channel UV/VIS/NIR/SWIR radiometer | JAXA |  | https://space.oscar.wmo.int/instruments/view/tanso_cai_2 https://www.eorc.jaxa.jp/GOSAT/instrument_2.html https://space.oscar.wmo.int/instruments/view/tanso_cai | https://en.wikipedia.org/wiki/Greenhouse_Gases_Observing_Satellite-2 https://earth.esa.int/eogateway/missions/gosat-2 | greenhouse gas observation sensor (TANSO-FTS ), cloud/aerosol sensor (TANSO-CAI), TANSO-FTS-2 (TANSO-CAI 2 | Mitsubishi Electric | https://en.wikipedia.org/wiki/Greenhouse_Gases_Observing_Satellite-2 https://earth.esa.int/eogateway/missions/gosat-2 | https://images.app.goo.gl/2K3FtNaT3GUmmvo3A
OCO | OCO | - | 150 | 165 | 1.29 km (cross-track), 2.25 km (along-track) | Cross track 10 | IN FLIGHT | 0.76 , 1.61, 2.06 | - | - | 3 NIR/SWIR grating spectrometer, 3 bands, 0.76 µm (O2), 1.61 and 2.06 µm (CO2) - 3000 channels total | HSSS | Oribtal Sciences | https://directory.eoportal.org/web/eoportal/satellite-missions/o/oco https://space.oscar.wmo.int/instruments/view/oco | https://en.wikipedia.org/wiki/Orbiting_Carbon_Observatory#Technology https://directory.eoportal.org/web/eoportal/satellite-missions/o/oco-2 | The satellite will carry a single instrument designed to make the most precise measurements of atmospheric carbon dioxide ever made from space. The instrument consists of three parallel, high-resolution spectrometers, integrated into a common structure and fed by a common telescope. The spectrometers will make simultaneous measurements of the carbon dioxide and molecular oxygen absorption of sunlight reflected off the same location on Earth's surface when viewed in the near-infrared part of the electromagnetic spectrum, invisible to the human eye. | Oribtal Sciences | https://en.wikipedia.org/wiki/Orbiting_Carbon_Observatory#Technology https://directory.eoportal.org/web/eoportal/satellite-missions/o/oco-2 | https://images.app.goo.gl/F3Gbmpaninj9cjFu7
OCO-2 | OCO-2 | - | 150 | 165 | 1.29 km (cross-track), 2.25 km (along-track) | Cross track 10 | IN FLIGHT | 0.76 , 1.61, 2.06 | - | - | 3 NIR/SWIR grating spectrometer, 3 bands, 0.76 µm (O2), 1.61 and 2.06 µm (CO2) - 3000 channels total | HSSS | Oribtal Sciences | https://directory.eoportal.org/web/eoportal/satellite-missions/o/oco https://space.oscar.wmo.int/instruments/view/oco
OCO-3 | OCO ISS | - | 150 | 165 | 1.29 km (cross-track), 2.25 km (along-track) | Cross track 10 | IN FLIGHT | 0.76 , 1.61, 2.06 | - | - | 3 NIR/SWIR grating spectrometer, 3 bands, 0.76 µm (O2), 1.61 and 2.06 µm (CO2) - 3000 channels total | HSSS | JPL | https://directory.eoportal.org/web/eoportal/satellite-missions/o/oco https://space.oscar.wmo.int/instruments/view/oco https://directory.eoportal.org/web/eoportal/satellite-missions/i/iss-oco-3 | https://doi.org/10.1016/j.rse.2021.112314 https://ocov3.jpl.nasa.gov/ | https://ocov3.jpl.nasa.gov/payload/instrument/ | JPL | https://doi.org/10.1016/j.rse.2021.112314 https://ocov3.jpl.nasa.gov/ | https://ocov3.jpl.nasa.gov/media/images/payload-small.original.jpg
GOSAT-3 (GOSAT-GW) | Greenhouse gas observation sensor (TANSO-FTS ) | - | 329 | 400 | 10.5 | 160 36.1 deg | Irradiance : Solar, Deeo soace, Diode Laser, Black Body | 0.01- 15 | - | - | UV (0.01 - 0.4 µm), VIS (0.40 - 0.75 µm), NIR (0.75 - 1.30 µm), SWIR (1.3 - 3.0 µm), MWIR (3.0 - 6.0 µm), TIR (6.0 - 15.0 µnm) | JAXA | Mitsubishi | https://earth.esa.int/eogateway/missions/gosat https://space.oscar.wmo.int/instruments/view/tanso_cai_2 https://www.eorc.jaxa.jp/GOSAT/instrument_2.html | WMO OSCAR ¦ Satellite: GOSAT-GW | Thermal And Near infrared Sensor for carbon Observations Advanced Microwave Scanning Radiometer - 3 Other instruments may be added | Mitsubishi | WMO OSCAR ¦ Satellite: GOSAT-GW | Not yet available
| Cloud/aerosol sensor (TANSO-CAI) | - | 42 | 83 | 1.5 | 750- 100 36.1 DEG | Irradiance : Solar, Deeo soace, Diode Laser, Black Body | 0.3 - 1.6 | - | - | 4-channel UV/VIS/NIR/SWIR radiometer | JAXA |  | https://earth.esa.int/eogateway/missions/gosat https://space.oscar.wmo.int/instruments/view/tanso_cai_2 https://www.eorc.jaxa.jp/GOSAT/instrument_2.html
|  |  | 46.7838 | 58.1081
https://digitalcommons.usu.edu/cgi/viewcontent.cgi?article=4285&context=smallsat